## Sheet1
参数名称 | 产品系列分类（如：SDS2000X） | 排序（填写数字，默认排序为0）
Bandwidth | SDS5000X | 0
Channels | SDS5000X | 1
Sample Rate(Max.) | SDS5000X | 2
Waveform Capture Rate(Max.) | SDS5000X | 3
Memory Depth(Max.) | SDS5000X | 4
Vertical Sensitivity | SDS5000X | 5
Sequence Mode | SDS5000X | 6
History Mode | SDS5000X | 7
FFT | SDS5000X | 8
MASK Test | SDS5000X | 9
Intensity Grading and Color Temperature Display | SDS5000X | 10
Display | SDS5000X | 11
Bandwidth | SDS2000X-E | 0
Channels | SDS2000X-E | 1
Sample Rate(Max.) | SDS2000X-E | 2
Waveform Capture Rate(Max.) | SDS2000X-E | 3
Memory Depth(Max.) | SDS2000X-E | 4
Intensity Grading and Color Temperature Display | SDS2000X-E | 5
Vertical Sensitivity | SDS2000X-E | 6
Segmented Memory | SDS2000X-E | 7
FFT | SDS2000X-E | 8
历史波形记录及分析 | SDS2000X-E | 9
Pass/Fail Test | SDS2000X-E | 10
Search and Navigate | SDS2000X-E | 11
Web Control | SDS2000X-E | 12
USB AWG Module | SDS2000X-E | 13
Display | SDS2000X-E | 14
Bandwidth | SDS2000X | 0
Channels | SDS2000X | 1
Sample Rate(Max.) | SDS2000X | 2
Waveform Capture Rate(Max.) | SDS2000X | 3
Memory Depth(Max.) | SDS2000X | 4
Intensity Grading and Color Temperature Display | SDS2000X | 5
Vertical Sensitivity | SDS2000X | 6
Segmented Memory | SDS2000X | 7
History Mode | SDS2000X | 8
USB AWG Module | SDS2000X | 9
电源分析 | SDS2000X | 10
增强/高分辨率模式 | SDS2000X | 11
自动识别探头 | SDS2000X | 12
Display | SDS2000X | 13
Bandwidth | SDS1000X/X+ | 0
Channels | SDS1000X/X+ | 1
Sample Rate(Max.) | SDS1000X/X+ | 2
Waveform Capture Rate(Max.) | SDS1000X/X+ | 3
Memory Depth(Max.) | SDS1000X/X+ | 4
Intensity Grading and Color Temperature Display | SDS1000X/X+ | 5
Vertical Sensitivity | SDS1000X/X+ | 6
Segmented Memory | SDS1000X/X+ | 7
History Mode | SDS1000X/X+ | 8
USB AWG Module | SDS1000X/X+ | 9
Display | SDS1000X/X+ | 10
Bandwidth | SDS1000X-E | 0
Channels | SDS1000X-E | 1
Sample Rate(Max.) | SDS1000X-E | 2
Waveform Capture Rate(Max.) | SDS1000X-E | 3
Memory Depth(Max.) | SDS1000X-E | 4
FFT | SDS1000X-E | 5
Serial Bus Triggering and Decoding | SDS1000X-E | 6
Vertical Sensitivity | SDS1000X-E | 7
Intensity Grading and Color Temperature Display | SDS1000X-E | 8
Segmented Memory | SDS1000X-E | 9
History Mode | SDS1000X-E | 10
USB AWG Module | SDS1000X-E | 11
Bode Plot | SDS1000X-E | 12
MSO Function | SDS1000X-E | 13
Display | SDS1000X-E | 14
Reading Resolution | SDM3065X | 0
Sample Rate(Max.) | SDM3065X | 1
DCV基本精度 | SDM3065X | 2
RAM | SDM3065X | 3
Cold Terminal Compensation for Thermocouple | SDM3065X | 4
Scanner Card | SDM3065X | 5
Interface | SDM3065X | 6
Display | SDM3065X | 7
Reading Resolution | SDM3055 | 0
Sample Rate(Max.) | SDM3055 | 1
DCV基本精度 | SDM3055 | 2
Dual Display | SDM3055 | 3
Cold Terminal Compensation for Thermocouple | SDM3055 | 4
Scanner Card | SDM3055 | 5
Volatile Memory | SDM3055 | 6
Nonvolatile Memory | SDM3055 | 7
Interface | SDM3055 | 8
Display | SDM3055 | 9
Reading Resolution | SDM3045X | 0
Sample Rate(Max.) | SDM3045 | 1
DCV基本精度 | SDM3045 | 2
Dual Display | SDM3045 | 3
Cold Terminal Compensation for Thermocouple | SDM3045 | 4
Scanner Card | SDM3045 | 5
Volatile Memory | SDM3045 | 6
Nonvolatile Memory | SDM3045 | 7
Interface | SDM3045 | 8
Display | SDM3045 | 9
Output | SDL1000X | 0
Operating Mode | SDL1000X | 1
CV Mode Accuracy | SDL1000X | 2
CC Mode Accuracy | SDL1000X | 3
CR Mode Accuracy | SDL1000X | 4
CP Mode Accuracy | SDL1000X | 5
Readback Resolution | SDL1000X | 6
Current Rise Time Range | SDL1000X | 7
Dynamic Mode Frequency | SDL1000X | 8
Protection Mode | SDL1000X | 9
Trend Chart | SDL1000X | 10
Test Function | SDL1000X | 11
电压/电流监控 | SDL1000X | 12
Compensation Mode Function | SDL1000X | 13
List Operation Function | SDL1000X | 14
Interface | SDL1000X | 15
Display | SDL1000X | 16
Sine Output | SDG6000X | 0
Pulse Output | SDG6000X | 1
Channels | SDG6000X | 2
Sample Rate | SDG6000X | 3
Vertical Sensitivity | SDG6000X | 4
Rise Time | SDG6000X | 5
Frequency Resolution | SDG6000X | 6
Frequency Accuracy | SDG6000X | 7
Arbitrary Waveform Length | SDG6000X | 8
Noise Bandwidth | SDG6000X | 9
I/Q Function | SDG6000X | 10
PRBS Generator | SDG6000X | 11
Frequency Counter | SDG6000X | 12
Interface | SDG6000X | 13
Display | SDG6000X | 14
Sine Output | SDG2000X | 0
Channels | SDG2000X | 1
Sample Rate | SDG2000X | 2
Vertical Sensitivity | SDG2000X | 3
Frequency Resolution | SDG2000X | 4
Arbitrary Waveform Length | SDG2000X | 5
逐点输出 | SDG2000X | 6
Interface | SDG2000X | 7
Display | SDG2000X | 8
Bandwidth | SDG1000X | 0
Channels | SDG1000X | 1
Sample Rate | SDG1000X | 2
Vertical Sensitivity | SDG1000X | 3
Frequency Resolution | SDG1000X | 4
Waveform | SDG1000X | 5
Sine | SDG1000X | 6
Square | SDG1000X | 7
Pulse | SDG1000X | 8
Ramp | SDG1000X | 9
Gaussian White Noise | SDG1000X | 10
Arbitrary Waveform Length | SDG1000X | 11
Interface | SDG1000X | 12
Display | SDG1000X | 13
Frequency Range | SVA1000X | 0
Average Noise Level | SVA1000X | 1
Phase Noise | SVA1000X | 2
Resolution Bandwidth | SVA1000X | 3
Preamplifier | SVA1000X | 4
VSWR电桥 | SVA1000X | 5
VNA | SVA1000X | 6
Tracking Generator | SVA1000X | 7
Display | SVA1000X | 8
Frequency Range | SSG3000X | 0
Frequency Resolution | SSG3000X | 1
温度稳定度 | SSG3000X | 2
幅度动态范围 | SSG3000X | 3
Level Accuracy | SSG3000X | 4
Phase Noise | SSG3000X | 5
Pulse Generator | SSG3000X | 6
Pulse train Generator | SSG3000X | 7
IQ Modulation | SSG3000X | 8
Web Service | SSG3000X | 9
Interface | SSG3000X | 10
Display | SSG3000X | 11
Frequency Range | SSA3000X | 0
Average Noise Level | SSA3000X | 1
Phase Noise | SSA3000X | 2
Level Accuracy | SSA3000X | 3
Resolution Bandwidth | SSA3000X | 4
Preamplifier | SSA3000X | 5
Tracking Generator | SSA3000X | 6
Display | SSA3000X | 7
Output | SPD3303X/X-E | 0
Channels | SPD3303X/X-E | 1
Power | SPD3303X/X-E | 2
Resolution(Min.) | SPD3303X/X-E | 3
Ripple Noise | SPD3303X/X-E | 4
Program Accuracy | SPD3303X/X-E | 5
Interface | SPD3303X/X-E | 6
Display | SPD3303X/X-E | 7
Output | SPD1000X | 0
Channels | SPD1000X | 1
Power | SPD1000X | 2
Resolution(Min.) | SPD1000X | 3
Response | SPD1000X | 4
Ripple Noise | SPD1000X | 5
Sense补偿模式 | SPD1000X | 6
Program Accuracy | SPD1000X | 7
Readback Accuracy | SPD1000X | 8
Interface | SPD1000X | 9
Display | SPD1000X | 10
Bandwidth | SHS1000X | 0
Sample Rate | SHS1000X | 1
Channels | SHS1000X | 2
Memory Depth(Max.) | SHS1000X | 3
Isolation Level | SHS1000X | 4
Time Base Range | SHS1000X | 5
Vertical Resolution | SHS1000X | 6
Data Recorder | SHS1000X | 7
Trend Plot | SHS1000X | 8
Display | SHS1000X | 9
Maximum Resolution | SHS1000X | 10
Voltage(max.) | SHS1000X | 11
Current(Max.) | SHS1000X | 12
Resistance | SHS1000X | 13
Trend Plot | SHS1000X | 14
Weight | SHS1000X | 15
Capacitance | SHS1000X | 16